Transoptic

Spectrum Report

Counts per second

Full scale: 10000 cps

Energy KeV

Counts per second

|  | Element | Counts per second |
| --- | --- | --- |
| C | Carbon | 9925 |
| O | Oxygen | 1549 |
| Si | Silicon | 500 |

Full scale: 10000 cps

Energy KeV

TransOptic 2

Counts per second

Full scale: 280 cps

Energy KeV

Full scale: 280 cps

Counts per second

|  | Element | Counts per second |
| --- | --- | --- |
| C | Carbon | 279 |
| O | Oxygen | 258 |
| Na | Sodium | 43 |
| Cl | Chlorine | 168 |

Energy KeV